## Instructions
Instructions
BOQ Items: edit total_cost_pkr for any line. The 'Solar Panels' and 'Battery System' rows are recomputed live from Step 4 and the unit-cost parameters below, so their values here are for reference only and will be overridden.
Land Cost Options: edit total_cost_pkr for any of the three approaches; which one is actually used is chosen by the land_cost_approach parameter.
Cost Parameters: edit the 'value' column only — do not add/remove/rename rows.
Save the file, then re-upload it in the app to use these values instead of the defaults.

## BOQ Items
item_no | description | unit | qty_reference | total_cost_pkr
1 | Solar Panels (590 W rated) | W | 2000000 | 164000000
2 | Inverter (500 kW rated) | Nos. | 4 | 0
3 | DC Cables | m | 37400 | 0
4 | AC Cables | m | 350 | 0
5 | Grounding Cable (PV) | m | 994 | 0
6 | Grounding Cable (Structure) | m | 605 | 0
7 | Grounding Cable (Inverter) | m | 64 | 0
8 | DC Breakers | Nos. | 198 | 0
9 | LV Switchgear | Nos. | 6 | 0
10 | Cable Trays & Conduits | Lot | 6 | 0
11 | Panel Mounting Structure | Lot | 1 | 0
12 | Civil Work | Lot | 1 | 0
13 | Water Cleaning System | Lot | 1 | 0
14 | Transport Cost | Lot | 1 | 0
15 | Commissioning + 3-month O&M | Lot | 1 | 0
16 | Battery System | MWh | 8 | 400000000
17 | Cables & Distribution Infrastructure | Lot | 1 | 40000000

## Land Cost Options
approach | description | acres | total_cost_pkr
buy | Buying Land (one-time) | 5 | 58080000
private_lease | Lease Private Land (30 years) | 5 | 30000000
govt_lease | Lease Govt. Land (30 years) | 5 | 4000000

## Cost Parameters
parameter | value | unit | description
panel_unit_cost_pkr_per_w | 82 | PKR/W | Solar panel cost per watt — drives the BOQ's live-linked Panels line
battery_unit_cost_pkr_per_mwh | 50000000 | PKR/MWh | Battery cost per MWh — drives the BOQ's live-linked Battery System line
land_cost_approach | govt_lease | buy ¦ private_lease ¦ govt_lease ¦ none | Which land-cost figure (if any) is included in the totals
insurance_pct_per_year | 0.005 | fraction/year | Insurance cost, as a fraction of capital cost per year
om_usd_per_kw_per_year | 1.8 | USD/kW/year | Operations & maintenance cost per kW of Ppeak per year
usd_to_pkr_rate | 280 | PKR/USD | Exchange rate used to convert the O&M cost from USD to PKR
eur_to_pkr_rate | 330 | PKR/EUR | Exchange rate used for the EUR currency-toggle view
inflation_rate | 0.08 | fraction/year | Annual inflation applied to the O&M cash flow
discount_rate | 0.1 | fraction/year | Annual discount rate used to present-value the O&M cash flow
inverter_replacement_pct | 0.15 | fraction | Inverter replacement cost, as a fraction of (capital cost minus battery cost)
project_lifetime_years | 30 | years | Project lifetime used for the O&M cash-flow horizon and the LCOE energy denominator
use_lump_sum_capex | 0 | 0 or 1 (boolean) | If 1, override the itemized BOQ total with lump_sum_capex_pkr below
lump_sum_capex_pkr | 604000000 | PKR | Used only when use_lump_sum_capex=1 — a single all-in capital cost figure