## Instructions
Instructions
Edit the 'value' column only — do not add/remove/rename parameter rows, the app matches them by name on re-upload.
performance_ratio_Q and battery_quality_factor are two DIFFERENT parameters that happen to share the same default (0.85) — see each row's description.
Save the file, then re-upload it in the app to use these values instead of the defaults.

## PV Parameters
parameter | value | unit | description
performance_ratio_Q | 0.85 | fraction | PV system performance ratio / derating factor (used in the Egen formula)
reference_irradiance_iqc_kwm2 | 1 | kW/m2 | Reference/STC irradiance used to normalize Egen
ppeak_w | 2000000 | W | Selected PV array nameplate capacity to size/test
battery_dod | 0.8 | fraction | Battery maximum Depth of Discharge
battery_quality_factor | 0.85 | fraction | Battery quality/derating factor applied on top of DoD when sizing (replaces the workbook's undocumented x0.90)