## Key Results
section | metric | value | unit
Load | Total connected load | 1.8113 | MW
Load | Annual demand (corrected calendar) | 3.4403 | GWh/year
PV / Battery | PV array size (Ppeak) | 2 | MW
PV / Battery | Annual generation (Egen) | 3.8398 | GWh/year
PV / Battery | Battery capacity | 8000 | kWh
PV / Battery | Zero-yield hours | 317 | h/year
Cost | Capital cost (Capex) | 604000000 | PKR
Cost | Capital cost (Capex) | 2157142.8571 | USD
Cost | Total Opex (30yr, present value basis) | 519857391.4321 | PKR
Cost | Total cost (Capex+Opex) | 1123857391.4321 | PKR
Cost | LCOE (generation-based) | 9.7562 | PKR/kWh
ROI (break-even placeholder tariff) | Tariff used | 9.7562 | PKR/kWh
ROI (break-even placeholder tariff) | NPV | -511307348.8807 | PKR
ROI (break-even placeholder tariff) | Lifetime ROI | -80.7898 | %
ROI (illustrative +50% tariff) | Tariff used | 14.6342 | PKR/kWh
ROI (illustrative +50% tariff) | NPV | -353102651.5875 | PKR
ROI (illustrative +50% tariff) | Lifetime ROI | 2.5656 | %
ROI (illustrative +50% tariff) | Simple payback | 28.8181 | years
Note: ROI/cash-flow figures assume the tariff named in the sheet title — see Step 6 (06_Summary_Table.ipynb) section 6.2 for why the break-even figure is a placeholder, not a researched market rate.

## Cash Flow (break-even tariff)
year | revenue_pkr | om_cost_pkr | land_cost_pkr | replacement_cost_pkr | net_cash_flow_pkr | cumulative_nominal_pkr | cumulative_discounted_pkr
1 | 33564470.7178 | 4028000 | 133333.3333 | 0 | 29403137.3845 | -574596862.6155 | -577269875.105
2 | 33564470.7178 | 4350240 | 133333.3333 | 0 | 29080897.3845 | -545515965.2311 | -553236075.6137
3 | 33564470.7178 | 4698259.2 | 133333.3333 | 0 | 28732878.1845 | -516783087.0466 | -531648638.9612
4 | 33564470.7178 | 5074119.936 | 133333.3333 | 0 | 28357017.4485 | -488426069.5981 | -512280414.4899
5 | 33564470.7178 | 5480049.5309 | 133333.3333 | 0 | 27951087.8536 | -460474981.7446 | -494924988.0389
6 | 33564470.7178 | 5918453.4934 | 133333.3333 | 0 | 27512683.8911 | -432962297.8534 | -479394795.2366
7 | 33564470.7178 | 6391929.7728 | 133333.3333 | 0 | 27039207.6116 | -405923090.2418 | -465519406.3401
8 | 33564470.7178 | 6903284.1546 | 133333.3333 | 0 | 26527853.2298 | -379395237.012 | -453143967.0273
9 | 33564470.7178 | 7455546.887 | 133333.3333 | 0 | 25975590.4975 | -353419646.5145 | -442127780.9615
10 | 33564470.7178 | 8051990.638 | 133333.3333 | 0 | 25379146.7465 | -328040499.768 | -432343021.242
11 | 33564470.7178 | 8696149.889 | 133333.3333 | 0 | 24734987.4955 | -303305512.2726 | -423673559.0211
12 | 33564470.7178 | 9391841.8801 | 133333.3333 | 430600000 | -406560704.4957 | -709866216.7683 | -553216328.7434
13 | 33564470.7178 | 10143189.2305 | 133333.3333 | 0 | 23287948.1539 | -686578268.6143 | -546470639.6861
14 | 33564470.7178 | 10954644.369 | 133333.3333 | 0 | 22476493.0155 | -664101775.5989 | -540551876.5879
15 | 33564470.7178 | 11831015.9185 | 133333.3333 | 0 | 21600121.466 | -642501654.1329 | -535380979.2435
16 | 33564470.7178 | 12777497.192 | 133333.3333 | 0 | 20653640.1925 | -621848013.9404 | -530886145.3775
17 | 33564470.7178 | 13799696.9673 | 133333.3333 | 0 | 19631440.4171 | -602216573.5233 | -527002169.5482
18 | 33564470.7178 | 14903672.7247 | 133333.3333 | 0 | 18527464.6597 | -583689108.8636 | -523669842.1744
19 | 33564470.7178 | 16095966.5427 | 133333.3333 | 0 | 17335170.8417 | -566353938.0218 | -520835403.2194
20 | 33564470.7178 | 17383643.8661 | 133333.3333 | 0 | 16047493.5183 | -550306444.5035 | -518450045.5622
21 | 33564470.7178 | 18774335.3754 | 133333.3333 | 0 | 14656802.009 | -535649642.4945 | -516469463.5387
22 | 33564470.7178 | 20276282.2055 | 133333.3333 | 0 | 13154855.179 | -522494787.3155 | -514853442.547
23 | 33564470.7178 | 21898384.7819 | 133333.3333 | 0 | 11532752.6026 | -510962034.7129 | -513565485.982
24 | 33564470.7178 | 23650255.5644 | 133333.3333 | 0 | 9780881.82 | -501181152.8929 | -512572476.1063
25 | 33564470.7178 | 25542276.0096 | 133333.3333 | 0 | 7888861.3749 | -493292291.518 | -511844365.7713
26 | 33564470.7178 | 27585658.0904 | 133333.3333 | 0 | 5845479.2941 | -487446812.2239 | -511353898.1837
27 | 33564470.7178 | 29792510.7376 | 133333.3333 | 0 | 3638626.6469 | -483808185.577 | -511076352.1686
28 | 33564470.7178 | 32175911.5966 | 133333.3333 | 0 | 1255225.7879 | -482552959.7892 | -510989310.6081
29 | 33564470.7178 | 34749984.5243 | 133333.3333 | 0 | -1318847.1399 | -483871806.9291 | -511072449.9518
30 | 33564470.7178 | 37529983.2863 | 133333.3333 | 0 | -4098845.9018 | -487970652.8309 | -511307348.8807
Note: ROI/cash-flow figures assume the tariff named in the sheet title — see Step 6 (06_Summary_Table.ipynb) section 6.2 for why the break-even figure is a placeholder, not a researched market rate.

## Cash Flow (+50% illustrative)
year | revenue_pkr | om_cost_pkr | land_cost_pkr | replacement_cost_pkr | net_cash_flow_pkr | cumulative_nominal_pkr | cumulative_discounted_pkr
1 | 50346706.0767 | 4028000 | 133333.3333 | 0 | 46185372.7434 | -557814627.2566 | -562013297.506
2 | 50346706.0767 | 4350240 | 133333.3333 | 0 | 45863132.7434 | -511951494.5133 | -524109882.0156
3 | 50346706.0767 | 4698259.2 | 133333.3333 | 0 | 45515113.5434 | -466436380.9699 | -489913703.5458
4 | 50346706.0767 | 5074119.936 | 133333.3333 | 0 | 45139252.8074 | -421297128.1625 | -459082986.5132
5 | 50346706.0767 | 5480049.5309 | 133333.3333 | 0 | 44733323.2125 | -376563804.9501 | -431307112.2793
6 | 50346706.0767 | 5918453.4934 | 133333.3333 | 0 | 44294919.25 | -332268885.7 | -406303785.1288
7 | 50346706.0767 | 6391929.7728 | 133333.3333 | 0 | 43821442.9705 | -288447442.7295 | -383816455.9159
8 | 50346706.0767 | 6903284.1546 | 133333.3333 | 0 | 43310088.5887 | -245137354.1408 | -363611979.9518
9 | 50346706.0767 | 7455546.887 | 133333.3333 | 0 | 42757825.8563 | -202379528.2844 | -345478487.8393
10 | 50346706.0767 | 8051990.638 | 133333.3333 | 0 | 42161382.1054 | -160218146.179 | -329223449.8955
11 | 50346706.0767 | 8696149.889 | 133333.3333 | 0 | 41517222.8544 | -118700923.3247 | -314671916.5616
12 | 50346706.0767 | 9391841.8801 | 133333.3333 | 430600000 | -389778469.1368 | -508479392.4615 | -438867348.9086
13 | 50346706.0767 | 10143189.2305 | 133333.3333 | 0 | 40070183.5128 | -468409208.9486 | -427260444.0554
14 | 50346706.0767 | 10954644.369 | 133333.3333 | 0 | 39258728.3744 | -429150480.5743 | -416922393.8701
15 | 50346706.0767 | 11831015.9185 | 133333.3333 | 0 | 38382356.8249 | -390768123.7494 | -407733962.8102
16 | 50346706.0767 | 12777497.192 | 133333.3333 | 0 | 37435875.5514 | -353332248.198 | -399586825.5664
17 | 50346706.0767 | 13799696.9673 | 133333.3333 | 0 | 36413675.776 | -316918572.422 | -392382573.939
18 | 50346706.0767 | 14903672.7247 | 133333.3333 | 0 | 35309700.0186 | -281608872.4034 | -386031814.0216
19 | 50346706.0767 | 16095966.5427 | 133333.3333 | 0 | 34117406.2006 | -247491466.2027 | -380453345.4816
20 | 50346706.0767 | 17383643.8661 | 133333.3333 | 0 | 32829728.8772 | -214661737.3255 | -375573415.4742
21 | 50346706.0767 | 18774335.3754 | 133333.3333 | 0 | 31439037.3679 | -183222699.9576 | -371325040.4051
22 | 50346706.0767 | 20276282.2055 | 133333.3333 | 0 | 29937090.5379 | -153285609.4197 | -367647389.3721
23 | 50346706.0767 | 21898384.7819 | 133333.3333 | 0 | 28314987.9615 | -124970621.4582 | -364485223.6785
24 | 50346706.0767 | 23650255.5644 | 133333.3333 | 0 | 26563117.1789 | -98407504.2793 | -361788387.3224
25 | 50346706.0767 | 25542276.0096 | 133333.3333 | 0 | 24671096.7338 | -73736407.5455 | -359511343.8232
26 | 50346706.0767 | 27585658.0904 | 133333.3333 | 0 | 22627714.653 | -51108692.8925 | -357612755.1774
27 | 50346706.0767 | 29792510.7376 | 133333.3333 | 0 | 20420862.0058 | -30687830.8868 | -356055099.1093
28 | 50346706.0767 | 32175911.5966 | 133333.3333 | 0 | 18037461.1468 | -12650369.74 | -354804321.137
29 | 50346706.0767 | 34749984.5243 | 133333.3333 | 0 | 15463388.219 | 2813018.479 | -353829518.2882
30 | 50346706.0767 | 37529983.2863 | 133333.3333 | 0 | 12683389.4571 | 15496407.9361 | -353102651.5875
Note: ROI/cash-flow figures assume the tariff named in the sheet title — see Step 6 (06_Summary_Table.ipynb) section 6.2 for why the break-even figure is a placeholder, not a researched market rate.

## ROI Parameters
parameter | value | unit | description
electricity_tariff_pkr_per_kwh | 9.7562 | PKR/kWh | PLACEHOLDER — defaults to break-even (= LCOE). Replace with a real planned tariff or avoided-cost figure for a meaningful ROI.
revenue_escalation_rate | 0 | fraction/year | Annual growth rate applied to the tariff/revenue (0 = flat)
replacement_year | 12 | year | Year the battery and inverter replacement costs hit as a one-time outflow
Note: ROI/cash-flow figures assume the tariff named in the sheet title — see Step 6 (06_Summary_Table.ipynb) section 6.2 for why the break-even figure is a placeholder, not a researched market rate.